Program:  AP198  **********  Date:  91Jan16

User Number:  1100

Observer:  Patterson

Source File:  976P198

Subarray:  #1

Observe Mode:  Line

Operator:  K.R. Hartley

Configuration:  C

Decommissioned:  24

VLBI Ref. Ant:  23

Antenna Pad:  CE4-E8

Antenna(s) Used:

1  2  3  4  5  6  7  8  9 10 11 12 13 14 15 16 17 18 19 20 21 22 23 25 26 27 28

Weather Entry:

Time:  91Jan15 at 22:59:46

Dew Point:  -6¡C

Temp.:  6¡C

Wind:  NW @ 4 m/s

Bar. Pressure:  786mbars

Remarks::  Sky Cover is 80%. Cumuloform type.

Weather Entry:

Time:  91Jan16 at 6:48:55

Dew Point:  1¡C

Temp.:  1¡C

Wind:  SW @ 3 m/s

Bar. Pressure:  785mbars

Remarks::  Sky Cover is 100%. Cumuloform type.

Weather Entry:

Time:  91Jan16 at 12:05:36

Dew Point:  -2¡C

Temp.:  -1¡C

Wind:  S @ 1 m/s

Bar. Pressure:  786mbars

Remarks::  Sky Cover is 100%. Cumuloform type. Light snow.

Observing data is recorded on tape:

Tape #:  N1827

File #:  1

Time of Final Record:  91Jan16 at 9:13:33

Observing data is recorded on tape:

Tape #:  N1828

File #:  1

Time of Final Record:

Monitor data is recorded on tape:

Tape #:  N1825

File #:  8

Time of Final Record:

Comments made by the operator concerning this program:

Start Time:  91Jan16 at 0:31:00

End Time:

Comment:

Start of observe file. The band(s) used are L   band(s).

Start Time:  91Jan16 at 0:38:00

End Time:

Comment:

On source 0134+329 with all available antennas.

Start Time:  91Jan16 at 2:45:00

End Time:  91Jan16 at 3:11:00

Form #: Weather

# Ants: 27.00

Down T.: 702.00

Comment:

Weather Problem(s); Array engaged in snow removal routine due to high

potential for snow accumulation. Observing Data: Lost

Start Time:  91Jan16 at 3:11:00

End Time:

Comment:

Skipped to source later in program to provide a low easterly angle to avoid snow

accumulation.  On source 1358+624. Source card #27

Start Time:  91Jan16 at 5:43:00

End Time:  91Jan16 at 5:53:00

Form #: Unschedule

# Ants: 27.00

Down T.: 270.00

Comment:

VLA LO - Central Problem(s); A fluke failed to set properly. Observing

Data: Corrupted

Start Time:  91Jan16 at 6:45:00

End Time:

Comment:

**** D. Medcalf is your operator. ****

Start Time:  91Jan16 at 7:03:35

End Time:

Comment:

Ran a backup on the Modcomp partition where observe files are kept.

Start Time:  91Jan16 at 12:29:00

End Time:

Comment:

End of program AP198******************************************