From: VLA Operations <observe@nrao.edu>

Date: 7 July 2008 05:45:26 BST

To: e.brinks@herts.ac.uk

Subject: 2008-07-06_2040_AH927.txt

************************************************************************

Filename:       2008-07-06_2040_AH927
Program:        AH927                Subarray(s):        1
Observer(s):    Elias Brinks         Operator(s):        Matt Gardiner
Date:           07/06/2008           Configuration:      D
User #:         1296                 Decommissioned:     3
Source File(s): 375AH927             VLBI Ref. Ant:
Observing Mode: Line 2AC             VLBI Antenna Pad:
Email Address:  e.brinks@herts.ac.uk

API (Atmospheric Phase Interferometer) information can be found at:
http://www.vla.nrao.edu/astro/guides/api/
Adobe PDF version of this log is located at:
http://www.vla.nrao.edu/operators/logs/
Visibility data is updated each day at IAT/UT midnight and available from the online archive at:
http://archive.nrao.edu


** Weather Information **

Time (IAT)         Dew Pt   Temp   Wind              Bar. Press    API
06Jul 20:40:20     N/A      N/A    S at 4.8 m/s      787.7         16.7
06Jul 22:19:04     N/A      N/A    S at 2.5 m/s      788.9         3.3
07Jul 0:29:49      N/A      N/A    SW at 2.3 m/s     787.5         4.7
07Jul 2:49:19      N/A      N/A    W at 2.9 m/s      787.8         7.1
07Jul 4:09:18      N/A      N/A    W at 4.0 m/s      788.9         3.1


    Operator comments for the above weather entries

06Jul 20:40:20     Sky cover 70%.   Mixed clouds.
06Jul 22:19:04     Sky overcast.    Mixed clouds.
07Jul 0:29:49      Sky cover 90%.   Mixed clouds.
07Jul 2:49:19      Sky cover 70%.   Mixed clouds.
07Jul 4:09:18      Sky overcast.    Mixed clouds.       Light rain.



         Total # of antennas used =  27


** Comments and Outages **

START TIME            END TIME               FORM #     #ANTS    DOWNTIME
                                                              (in minutes)


06Jul 20:40:20
Starting program AH927.

06Jul 20:40:20
The band(s) used is(are): L

06Jul 20:42:40
On source 0542+498 with all available antennas.

06Jul 20:40:20
Antenna(s) : 2 7 13 18 20 27
have recently updated baseline parameters to correct for errors resulting from
their recent relocation.
Antenna(s) : 3
do not have good baseline positions determined for them because they were
moved to their present location recently.  Please check for any significant
errors and let the Data Analysts (email - analysts@nrao.edu) know what you
find.  Thank you.

06Jul 20:40:20
Your data were taken with the new EVLA computer system controlling the
Array. The data flagger is still incomplete for some EVLA failure modes,
so observers should carefully review their calibrator observations for
these flagger failures.

06Jul 20:40:20
We are currently including all checked-out (operational) EVLA antennas in
the VLA by default. For your project, we have included the following EVLA
antennas in the array: 1 2 4 5 11 13 14 16 17 18 19 21 23 24 25 26

06Jul 20:40:20
Please note that using the EVLA antennas is a shared-risk operation
and we cannot guarantee that useful data will be produced by these
antennas. Users should consult the web page
http://www.vla.nrao.edu/astro/guides/evlareturn
for known problems and workarounds in using the EVLA antennas with
the VLA. We would like your input and feedback on the use of the
EVLA antennas in your project; please send all comments and/or
questions to gvanmoor@aoc.nrao.edu.

06Jul 20:40:20        07Jul 04:39:00         C122919   1.00      478.7
Antenna(s) 25 (Data: Lost):                                      FRONT END
The L band receiver has been removed for repairs.

06Jul 20:40:20        07Jul 04:39:00         C123028   1.00      478.7
Antenna(s) 18 (Data: Lost):                                      EVLA
Fringe amplitudes are very weak on IFs A&C at L band.

06Jul 22:10:00
Your new operator(s) is(are): David Midgett


End Time              Total Program Time    % Downtime    Total Downtime
                        (in minutes)                      (in minutes)

07/07/08 04:39:00     12924.0               7.4%          957.3